## Sheet1
Asset Type | Manufacturer | Model | Capabilites | Building | Room | Floor | How to Access | Tag Number
Floor Centrifuge | Thermo Scientific | RC6+ | High speed centrifuge | Biomedical Research Tower (0112) | 455 | 4 |  | 01172250
Imager/Scanner | Li-Cor | Odyssey CLx | NIR Western Blot | Biomedical Research Tower (0112) | 455 | 4 | Training required. Submit request to ccc.osu.edu/sop for training | 01175304
Incubator Shaker | Thermo Scientific | MaxQ 8000 |  | Biomedical Research Tower (0112) | 455 | 4 |  | 01172325
Incubator Shaker | Thermo Scientific | MaxQ 8000 |  | Biomedical Research Tower (0112) | 455 | 4 |  | 01172326
Incubator Shaker | Thermo Scientific | MaxQ 8000 |  | Biomedical Research Tower (0112) | 455 | 4 |  | 01172327
Spectrophotometer | Thermo Scientific | NanoDrop 2000C | with Cuvette | Biomedical Research Tower (0112) | 455 | 4 |  | 01172293
Imager/Scanner | GE Healthcare | Typhoon FLA7000 | phosphorimaging, chemifluorescent imaging, single fluorescent imaging | Biomedical Research Tower (0112) | 455 | 4 | Training required. Submit request to ccc.osu.edu/sop for training; eRAMP scheduling required | 01170605
Water Purifiers | Avidity | Alto I |  | Biomedical Research Tower (0112) | 455 | 4 |  | 01190854
Plate Reader | Biotek | Synergy H1 |  | Biomedical Research Tower (0112) | 455 | 4 |  | 01185699?
Imager/Scanner | Azure | 500 | NIR, Chemi, Blue Light, White Light, Ultraviolet | Biomedical Research Tower (0112) | 455 | 4 |  | 01189586
Tabletop Centrifuge | Thermo Scientific | Sorvall Legend XTR |  | Biomedical Research Tower (0112) | 541 | 5 |  | 01171848
Tabletop Centrifuge | Thermo Scientific | Sorvall Legend XTR |  | Biomedical Research Tower (0112) | 543 | 5 |  | 01174186
Cell Counter | Nexcelom Bioscience | Cellometer Auto 200 | Cell Counter + Viability Check | Biomedical Research Tower (0112) | 555 | 5 |  | 01183012
Tabletop Centrifuge | Thermo Scientific | Sorvall Legend XTR | 50ml, 15ml conical tube adaptors, lids; 2ml-48 capacity rotor; microplate adaptors | Biomedical Research Tower (0112) | 555 | 5 |  | 01172358
Imager/Scanner | BioRad | GelDoc Go |  | Biomedical Research Tower (0112) | 555 | 5 |  | 01187311
Imager/Scanner | ProteinSimple | AlphaImager HP | Does UV/White light only | Biomedical Research Tower (0112) | 555 | 5 |  | 01171859
Imager/Scanner | Li-Cor | Odyssey CLx | NIR Western Blot | Biomedical Research Tower (0112) | 555 | 5 | Training required. Submit request to ccc.osu.edu/sop for training | 01175301
Plate Reader | Biotek | Synergy 4 Multi Detection | Luminescence | Biomedical Research Tower (0112) | 555 | 5 |  | 01162795
RT-PCR | Applied Biosystems | QuantStudio3 |  | Biomedical Research Tower (0112) | 555 | 5
RT-PCR | Applied Biosystems | StepOnePlus |  | Biomedical Research Tower (0112) | 555 | 5 |  | 01172060
RT-PCR | Applied Biosystems | StepOnePlus |  | Biomedical Research Tower (0112) | 555 | 5 |  | 01172059
Imager/Scanner | Azure | 200 | Blue Light, White Light, Ultraviolet | Biomedical Research Tower (0112) | 555 | 5 |  | 01187407
Water Purifiers | Avidity | Alto I |  | Biomedical Research Tower (0112) | 555 | 5 |  | 01190853
Floor Centrifuge | Beckman Coulter | Optima XPN-100 | Ultracentrifuge | Biomedical Research Tower (0112) | 577 | 5 | Training required. Submit request to ccc.osu.edu/sop for training; eRAMP scheduling required | 01190988
Floor Centrifuge | Beckman Coulter | Avanti JXN-26 | High speed centrifuge | Biomedical Research Tower (0112) | 577 | 5 | Training required. Submit request to ccc.osu.edu/sop for training; eRAMP scheduling required
Floor Centrifuge | Thermo Scientific | RC3BP+ | High speed centrifuge | Biomedical Research Tower (0112) | 577 | 5 | Training required. Submit request to ccc.osu.edu/sop for training; eRAMP scheduling required | 01171890
Incubator Shaker | Thermo Scientific | MaxQ 8000 Stackable Shaker |  | Biomedical Research Tower (0112) | 577 | 5 |  | NC071208
Incubator Shaker | Thermo Scientific | MaxQ 8000 Stackable Shaker |  | Biomedical Research Tower (0112) | 577 | 5 |  | NC071209
Incubator Shaker | Thermo Scientific | MaxQ 8000 Stackable Shaker |  | Biomedical Research Tower (0112) | 577 | 5 |  | NC071212
Incubator Shaker | Thermo Scientific | MaxQ 8000 Stackable Shaker |  | Biomedical Research Tower (0112) | 577 | 5 |  | NC071213
Imager/Scanner | ProteinSimple | AlphaImager HP | UV/Whighe light | Biomedical Research Tower (0112) | 865 | 8 |  | 01175157
RT-PCR | Azure | Cielo 6 |  | Biomedical Research Tower (0112) | 865 | 8 |  | 01188465
Plate Reader | Molecular Devices | SpectraMax ID5 |  | Biomedical Research Tower (0112) | 865 | 8 | Training required. Submit request to ccc.osu.edu/sop for training | 01183690
Imager/Scanner | Azure | 300 | Chemi, Blue Light, White Light, Ultraviolet | Biomedical Research Tower (0112) | 865 | 8 |  | 01188466
Cell Counter | Nexcelom Bioscience | Cellometer Auto 200 |  | Biomedical Research Tower (0112) | 865 | 8 |  | 01177320
Imager/Scanner | Li-Cor | Odyssey CLx | NIR Western Blot | Biomedical Research Tower (0112) | 865 | 8 | Training required. Submit request to ccc.osu.edu/sop for training | 01175302
Floor Centrifuge | Thermo Scientific | Lynx 4000 | High speed centrifuge; Rotor 01179435 | Biomedical Research Tower (0112) | 865 | 8 |  | 01179434
Floor Centrifuge | Beckman Coulter | JXN-26 | High Speed Centrifuge, JLA-8.1 rotor | Biomedical Research Tower (0112) | 865 | 8 |  | 01181237
Water Purifiers | Avidity | Alto I |  | Biomedical Research Tower (0112) | 865 | 8 |  | 01190852
Microscope/Slide Scanner | Zeiss | Observer 3 |  | Biomedical Research Tower (0112) | 835 | 8 |  | 01191165
Microscope/Slide Scanner | Nikon | E800 |  | Biomedical Research Tower (0112) | 835 | 8 |  | 01111599
Imager/Scanner | Azure | Sapphire FL |  | Biomedical Research Tower (0112) | 835 | 8 | Training required. Submit request to ccc.osu.edu/sop for training | 01188464
Floor Centrifuge | Sorvall | Discovery 90SE |  | Biomedical Research Tower (0112) | 835X | 8 |  | 01141275
Floor Centrifuge | Beckman Coulter | L-60 Ultracentrifuge |  | Biomedical Research Tower (0112) | 940X | 9 |  | 01112122
Imager/Scanner | Li-Cor | Odyssey FC |  | Biomedical Research Tower (0112) | 9 | 945 |  | 01177297
Cell Counter | Nexcelom Bioscience | Cellometer Auto 200 |  | Biomedical Research Tower (0112) | 9 | 945 |  | 01177321
Water Purifiers | Elga | PureFlex |  | Biomedical Research Tower (0112) | 9 | 945
Imager/Scanner | Azure | 600 | RGB, NIR, Chemi, Blue Light, White Light, Ultraviolet | Biomedical Research Tower (0112) | 9 | 945 |  | 01189585
Plate Reader | Turner Biosystems | Veritas |  | Biomedical Research Tower (0112) | 9 | 945 |  | 01174087
Imager/Scanner | Li-Cor | Odyssey FC |  | Biomedical Research Tower (0112) | 9 | 945 |  | 01177298
Floor Centrifuge | Thermo Scientific | Sorvall RC6+ |  | Biomedical Research Tower (0112) | 9 | 945 |  | 01171849
Imager/Scanner | Azure | 200 | Blue Light, White Light, Ultraviolet | Biomedical Research Tower (0112) | 9 | 945 |  | 01187408
Tabletop Centrifuge | Thermo Scientific | Sorvall Legend RT+ |  | Biomedical Research Tower (0112) | 9 | 945 |  | NC060664
Spectrophotometer | Thermo Scientific | NanoDrop One |  | Biomedical Research Tower (0112) | 9 | 945 |  | 01184703
Imager/Scanner | Li-Cor | Odyssey CLx | NIR Western Blot | Tzagournis Medical Research Facility (0163) | 570 | 5 | Training required. Submit request to ccc.osu.edu/sop for training | 01175305
Imager/Scanner | Li-Cor | Odyssey Fc | Chemi, NIR western blots | Tzagournis Medical Research Facility (0163) | 570 | 5 | Training required. Submit request to ccc.osu.edu/sop for training | 01177296
Spectrophotometer | NanoDrop Technologies | NanoDrop One |  | Tzagournis Medical Research Facility (0163) | 570 | 5 |  | 01179801
Microscope/Slide Scanner | Thermo Scientific | Evos M7000 | Inverted Microscope; Flourescence and transmitted light applications | Tzagournis Medical Research Facility (0163) | 570A | 5 | Request training at ccc.osu.edu/sop; Training provided by representative quarterly | 01191212
Incubator Shaker | New Brunswick Sci Co Inc | Innova 4300 |  | Tzagournis Medical Research Facility (0163) | 570B | 5 |  | 01165867
Plate Reader | Promega Corporation | Glomax R (GM3000) | 96, 384 well, preprogrammed Promega protocols/filtered luminescence/BRET Assays/FRET Assays | Tzagournis Medical Research Facility (0163) | 570B | 5 | Training required. Submit request to ccc.osu.edu/sop for training | 01181123
Plate Reader | Molecular Devices | SpectraMax Plus 384 | Absorbance. Old instrument | Tzagournis Medical Research Facility (0163) | 570B | 5 |  | 01123664
RT-PCR | Applied Biosystem | QuantStudio 3 |  | Tzagournis Medical Research Facility (0163) | 570 | 5 | "Isley" | 01191213
RT-PCR | Applied Biosystem | QuantStudio 3 |  | Tzagournis Medical Research Facility (0163) | 570 | 5 | "Huhi" | 01191214
RT-PCR | Applied Biosystem | QuantStudio 3 |  | Tzagournis Medical Research Facility (0163) | 570 | 5 | "Joule" | 01191215
Water Purifier | Elga | PureFlex (PF2) |  | Tzagournis Medical Research Facility (0163) | 4th floor | 4
Floor Centrifuge | Beckman Coulter | JXN-26 | High Speed Centrifuge; JS-5.3 rotor and JA-20 Rotor | Tzagournis Medical Research Facility (0163) | 570B | 5 |  | 01191216
Floor Centrifuge | Beckman Coulter | Optima XPN-100 | Ultracentrifuge | Tzagournis Medical Research Facility (0163) | 513 | 5 | Request training at ccc.osu.edu/sop. Scheduling through eRAMP. Visit www.beckman.com/techdocs for IFU's for rotors | 01184712
Autoclave/Washer | DAI Scientific | Autoclave |  | Tzagournis Medical Research Facility (0163) | 338 | 3 |  | 01184372
Water Purifiers | Elga | PureFlex (PF2) |  | Tzagournis Medical Research Facility (0163) | 660 | 6
Water Purifiers | Elga | PureFlex (PF2) |  | Tzagournis Medical Research Facility (0163) | 580X | 5
Imager/Scanner | BioRad | GelDoc Go |  | Tzagournis Medical Research Facility (0163) | 570 | 5 |  | 01191217
Cell Counter | Invitrogen | Countess |  | Tzagournis Medical Research Facility (0163) | 570 | 5
Plate Reader | Molecular Devices Corp | SpectraMax M2 | Absorbance/Fluorescence | Comprehensive Cancer Center (0363) | 317 | 3 |  | 01140454
Incubator Shaker | New Brunswick Sci Co Inc | Innova 44 |  | Comprehensive Cancer Center (0363) | 317 | 3 |  | 01184369
Incubator Shaker | New Brunswick Sci Co Inc | Innova 44 |  | Comprehensive Cancer Center (0363) | 317 | 3 |  | 01184370
Imager/Scanner | Bio-Rad | GelDoc Go | White tray, blue tray, UV/stain-free | Comprehensive Cancer Center (0363) | 362 | 3 |  | 01191218
Centrifuge, Table | Eppendorf | 5810R |  | Comprehensive Cancer Center (0363) | 352L | 3 |  | 01181740
Microscope/Slide Scanner | VWR International | 89404-462 |  | Comprehensive Cancer Center (0363) | 352L | 3 |  | NC223914
Microscope/Slide Scanner | Nikon | Eclipse Ti-OH |  | Comprehensive Cancer Center (0363) | 352L | 3 |  | 01164220
Centrifuge, Floor/High Speed | Beckman Coulter | Avanti JXN-26 | Rotors: JA-10.500, JA-12 | Comprehensive Cancer Center (0363) | 362 | 3 |  | 01181238
Incubator Shaker | Thermo Electron Corp | 440 |  | Comprehensive Cancer Center (0363) | 362 | 3 |  | 01142228
Incubator Shaker | Thermo Electron Corp | 440 |  | Comprehensive Cancer Center (0363) | 362 | 3 |  | 01142227
Incubator Shaker | Thermo Electron Corp | 440 |  | Comprehensive Cancer Center (0363) | 362 | 3 |  | 01142226
Imager | Li-Cor | Odyssey CLx | NIR Western Blot | Comprehensive Cancer Center (0363) | 362A | 3 | Training required. Submit request to ccc.osu.edu/sop for training | 01175303
Microscope/Slide Scanner | AMG | Evos xL Core | Tissue culture scope, USB port for imaging | Comprehensive Cancer Center (0363) | 362A | 3 |  | 01173513
Plate Reader | BioTek | Cytation 5 | Cell Imaging Multi-Mode Reader. For use with; Flourescence, Brightfield, Color Brightfield, and Phase Control | Comprehensive Cancer Center (0363) | 362A | 3 | Training required. Submit request to ccc.osu.edu/sop for training | 01185332
Water Purifier | Elga | PureFlex (PF2) |  | Comprehensive Cancer Center (0363) | 370A | 3
Water Purifier | Elga | PureFlex (PF2) |  | Comprehensive Cancer Center (0363) | 413T | 4
Microscope/Slide Scanner | AMG | Evos xL Core | Tissue culture scope, USB port for imaging | Comprehensive Cancer Center (0363) | 356 | 3
Tabletop Centrifuge | Thermo Scientific | Sorvall Legend XTR |  | Comprehensive Cancer Center (0363) | 356 | 3
Cell Counter | Nexcelom Bioscience | Cellometer Auto 200 |  | Comprehensive Cancer Center (0363) | 362A | 3 |  | 01177319
Imager/Scanner | ProteinSimple | FluorChemE |  | Comprehensive Cancer Center (0363) | 362A | 3 |  | 01171519
Spectrophotometer | Thermo Scientific | NanoDrop One |  | Comprehensive Cancer Center (0363) | 362A | 3
Imager/Scanner | Amersham | 680 |  | Goss Laboratory (0180) | 108 | 1 |  | 01186319
Irradiator | Rad Source Corp | RS 2000 |  | Goss Laboratory (0180) | 108A | 1 | Contact Suzanne.Camilli@osumc.edu for training | 01186828
Plate Reader | BioTek | Cytation 5 | fluorescence, brightfield, phase contrast and color brightfield imaging with monochromator fluorescence, monochromator UV-Vis absorbance, time resolved fluorescence (secondary mode), luminescence; incubation to 65 0C and linear, orbital | Goss Laboratory (0180) | 108A | 1 | Training required. Submit request to ccc.osu.edu/sop for training | 01186771
RT-PCR | Applied Biosystems | QuantStudio 6 |  | Goss Laboratory (0180) | 108A | 1 |  | 01186250
Microscope/Slide Scanner | AMG | Evos xL Core | Tissue culture scope, USB port for imaging | Goss Laboratory (0180) | 108D | 1 |  | 01174013
Water Purifiers | Avidity | Alto |  | Goss Laboratory (0180) | 108B | 1
Tabletop Centrifuge | Thermo Scientific | Sorvall X1R Pro-MD |  | Goss Laboratory (0180) | 108D | 1
Tabletop Centrifuge | Thermo Scientific | Sorvall X1R Pro-MD |  | Goss Laboratory (0180) | 108D | 1
Imager/Scanner | Azure | 300-->500 | NIR, Chemi, Blue Light, White Light, Ultraviolet | Pelotonia Research Center (1040) | 2130H |  | Schedule time on eRAMP | 01188535
Imager/Scanner | Azure | 200 | Blue Light, White Light, Ultraviolet | Pelotonia Research Center (1040) | 2130H
Microscope/Slide Scanner | Olympus | BX43F Dual view | Upright Brightfield microscope | Pelotonia Research Center (1040) | 2150H |  | Schedule time on eRAMP
RT-PCR | Applied Biosystems | QuantStudio 3 |  | Pelotonia Research Center (1040) | 2150V |  | Schedule time on eRAMP
RT-PCR | Applied Biosystems | QuantStudio 3 |  | Pelotonia Research Center (1040) | 2150V |  | Schedule time on eRAMP
Imager/Scanner | Azure | 300 | Chemi, Blue Light, White Light, Ultraviolet | Pelotonia Research Center (1040) | 2150V |  | Schedule time on eRAMP | 01188534
Imager/Scanner | Azure | 200 | Blue Light, White Light, Ultraviolet | Pelotonia Research Center (1040) | 2150V |  |  | 01188531
Cell Counter | VWR International | EVE Automatic Cell Counter |  | Pelotonia Research Center (1040) | 2150V
Spectrophotometer | ThermoFisher | NanoDrop One |  | Pelotonia Research Center (1040) | 2150V
Floor Centrifuge | Beckman Coulter | Avanti JXN-26 | High Speed Centrifuge | Pelotonia Research Center (1040) | 2170S |  |  | 01189324
Floor Centrifuge | Beckman Coulter | Avanti JXN-26 | High Speed Centrifuge | Pelotonia Research Center (1040) | 2170S |  |  | 01189325
Floor Centrifuge | Beckman Coulter | XE-90 | Ultracentrifuge | Pelotonia Research Center (1040) | 2170S |  | Training required. Request training at ccc.osu.edu/sop. eRAMP scheduling required | 01189327
Spectrophotometer | Molecular Devices | Spectramax Quickdrop |  | Pelotonia Research Center (1040) | 2170U |  |  | 01184374
Plate Reader | Molecular Devices | SpectraMax ID5 |  | Pelotonia Research Center (1040) | 2170U |  | Training required. Request training at ccc.osu.edu/sop. eRAMP scheduling required | 01184375
Incubator Shaker | New Brunswick Sci Co Inc | Innova 44 |  | Pelotonia Research Center (1040) | 2170U |  |  | 01188536
Incubator Shaker | New Brunswick Sci Co Inc | Innova 44 |  | Pelotonia Research Center (1040) | 2170U |  |  | 01188537
Imager/Scanner | Azure | Sapphire FL | Multiple filters available | Pelotonia Research Center (1040) | 2170U |  | Training provided by Azure. Request training at ccc.osu.edu/sop. eRAMP scheduling required | 01188532
Cell Counter | VWR | EVE Automatic Cell Counter |  | Pelotonia Research Center (1040) | 3130D
Cell Counter | VWR | EVE Automatic Cell Counter |  | Pelotonia Research Center (1040) | 3150D
Cell Counter | VWR | EVE Automatic Cell Counter |  | Pelotonia Research Center (1040) | 3170D
Floor Centrifuge | Beckman Coulter | Avanti JXN-26 |  | Pelotonia Research Center (1040) | 3170S
Floor Centrifuge | Beckman Coulter | Avanti JXN-26 |  | Pelotonia Research Center (1040) | 3170S
Plate Reader | Molecular Devices | SpectraMax ID3 |  | Pelotonia Research Center (1040) | 3170U |  |  | 01189322
RT-PCR | Azure | Cielo 6 |  | Pelotonia Research Center (1040) | 3170U |  | Schedule time on eRAMP | 01188533
RT-PCR | Azure | Cielo 6 |  | Pelotonia Research Center (1040) | 3170U |  | Schedule time on eRAMP | 01189169
Imager/Scanner | Azure | Sapphire FL |  | Pelotonia Research Center (1040) | 3170U |  | Training provided by Azure. Request training at ccc.osu.edu/sop. eRAMP scheduling required | 01189172
Imager/Scanner | Azure | 300 | Chemi, Blue Light, White Light, Ultraviolet | Pelotonia Research Center (1040) | 3170U |  | Schedule time on eRAMP | 01189171
Imager/Scanner | Azure | 300 | Chemi, Blue Light, White Light, Ultraviolet | Pelotonia Research Center (1040) | 3170U |  | Schedule time on eRAMP | 01189170
Imager/Scanner | Azure | 200 | Blue Light, White Light, Ultraviolet | Pelotonia Research Center (1040) | 3170U |  |  | 01189168
Imager/Scanner | Azure | 200 | Blue Light, White Light, Ultraviolet | Pelotonia Research Center (1040) | 3170U |  |  | 01189167
Spectrophotometer | Molecular Devices | Spectramax Quickdrop |  | Pelotonia Research Center (1040) | 3170U |  |  | 01189119
Incubator Shaker | New Brunswick Sci Co Inc | Innova 44 |  | Pelotonia Research Center (1040) | 3170V |  |  | 01189183
Incubator Shaker | New Brunswick Sci Co Inc | Innova 44 |  | Pelotonia Research Center (1040) | 3170V |  |  | 01189184
Microscope/Slide Scanner | Zeiss | Observer 3 | Inverted Microscope; Flourescence and transmitted light applications | Pelotonia Research Center (1040) | 2150H |  | Schedule time on eRAMP | 01191164
Microscope/Slide Scanner | EVOS | M5000 | Inverted Microscope; Flourescence and transmitted light applications | Pelotonia Research Center (1040) | 2150H